## TOR 150
ORDER SHEET
PROTECTION AND AUTOMATION DEVICES FOR BAYS 6-35 kV TOR 150
Manufacturer: |  |  | Relematika LLC, 428020, Yakovleva Avenue 1, Cheboksary, Russian Federation
|  |  | Tel.: (8352) 24-06-50, fax: (8352) 24-02-43, e-mail: | [7 empty] | market@relematika.ru
Customer
Contact person (Full name)
Telefon, fax, e-mail
Installation site
| TOR 150 T 10 1102 D1 | [11 empty] | TRUE | КЗ корректна?
|  | Quantity: |  | pcs.
Instructions for filling out are given on the 'HELP' sheet
Functional version | [11 empty] | T | 1
|  | PAC terminal on BL, IB or SB (list of functions is given in OM2) | [10 empty] | TRUE | 1 | 1
|  | Busbar VT protection terminal (list of functions is given in OM2) | [10 empty] | FALSE | 0 | 0
PAC measuring circuits version | [11 empty] | 1 | 1
|  | 2CT (5 А) + 1CТ (5/0,25 А) + 1VT (100 V) | [10 empty] | TRUE | 1 | 1
|  | 4VT (100 V) | [10 empty] | FALSE | 2 | 0
|  | Наличие протокола метрологической поверки средства измерения | [10 empty] | FALSE
Input / output circuits version | [11 empty] | 1 | 1 |  | 1 | вх рза | рел рза |  | вх мфк | рел мфк
|  | 1 unit |  |  |  | ( | 5 | inputs, | 5 | relays ) |  |  | TRUE | 1 | 1 | 5 | 5
|  | 2 units |  |  |  | ( | 10 | inputs, | 10 | relays ) |  |  | FALSE | 2 | 0 | 10 | 10
|  | 1 блок (220 В) |  |  |  | ( | 5 | входов, | 5 | реле ) |  |  | FALSE | 3 | 0 | 5 | 5
|  | 2 блока (220 В) |  |  |  | ( | 10 | входов, | 10 | реле ) |  |  | FALSE | 4 | 0 | 10 | 10
Communication port version | [11 empty] | 10 | 11
|  | Port 1 - RS-485 (XT1) | [10 empty] | TRUE | 1 | 1
|  | Ethernet ports (XT3, XT4) | [10 empty] | TRUE | 10 | 10
|  | IEC 61850-8-1 standard support (MMS, GOOSE) | [10 empty] | FALSE
Rated operating voltage, application area | [11 empty] | 2 | 2 |  | 2
|  | =/~220 V |  |  | =/~110 V | [7 empty] | TRUE | 2 | 2 | FALSE | 1 | 0
|  | 220 V powered by CT |  |  | 110 V powered by TT | [7 empty] | FALSE | 4 | 0 | FALSE | 3 | 0
|  | Усиленные контакты реле К1.1 Отключить, К1.2 Включить | [10 empty] | FALSE | 4 | 0 |  |  | 0
HMI interface version | [11 empty] | D1
|  | With display | [10 empty] | TRUE | 1 | 1
|  | Without display | [10 empty] | FALSE | 0 | 0
|  | Навесной монтаж (установка на заднюю стенку ячейки) с выносным пультом ВПТ-02 | [10 empty] | FALSE | 3 | 0
|  | Навесной монтаж (установка на заднюю стенку ячейки) с выносным пультом ВПТ-03 | [10 empty] | FALSE | 4 | 0
|  | Навесной монтаж (установка на заднюю стенку ячейки) с выносным пультом ВПГ-02 | [10 empty] | FALSE | 5 | 0
|  | Навесной монтаж (установка на заднюю стенку ячейки) с выносным пультом ВПГ-03 | [10 empty] | FALSE | 6 | 0
Service software with communication cable for USB port: | [9 empty] | sets
Additional requirements
| Position | [5 empty] | Signature, Full name
[13 empty] | 1000 | 04 | Шифрование кода портов АСУ
[13 empty] | 1 | 60
[13 empty] | 1001 | 64
[13 empty] | 100 | 20
[13 empty] | 1100 | 24
[13 empty] | 101 | 30
[13 empty] | 1101 | 34
[13 empty] | 10 | 01
[13 empty] | 1010 | 40
[13 empty] | 11 | 10
[13 empty] | 1011 | 41
[13 empty] | 110 | 12
[13 empty] | 1110 | 42
[13 empty] | 111 | 13
[13 empty] | 1111 | 43
[13 empty] | 331 | 60
[13 empty] | 321 | 62
[13 empty] | 311 | 63
[13 empty] | 0 | 00
Note on G4: Email: by clicking on the address, a letter will be automatically generated. Please do not forget to save and manually attach this Order Sheet file before sending it!
Note on A8: Prompt: - fill in the data on the installation site and the customer; - fill in the quantity; - select the version in each item using the switches; - inaccessible items are shaded; - the choice of unacceptable combinations is indicated by an "x"; - fill in the fields highlighted in gray; - send the order in one of the following ways: 1. click on the e-mail address above and the letter will be generated for sending (attach the Order Sheet file manually); 2. copy the e-mail address above, in the File-Send-As attachment menu, in the field: "To: paste the copied address"; 3. print the sheet and fax or scan to the e-mail above.
Note on B25: Внимание! Протокол поверки доступен только для МФК.
Note on B36: Attention! When ordering versions supporting IEC 61850, the presence of Ethernet ports is mandatory! Data transfer protocols: supported by default: IEC-101, IEC-103, IEC-104, ModBus
Note on B41: Внимание! Если выбрано "МФК с РЗА и дополнительными ТТ и ТН", то состояние данного переключателя игнорируется!
Note on A43: Select version from the list. The terminal image at the top will change.

## HELP
Help:
1. Fill in the data about the customer and about the installation site in the fields highlighted in gray;
2. Enter the quantity of ordered IEDs in the field highlighted in gray;
(after that, the inscription "Instructions for filling out are given on the 'HELP' sheet" will disappear)
3. Select the IED version in each item using the switches;
4. Select the IED version of the communication ports in each item using the switches;
When ordering versions supporting IEC 61850, the presence of Ethernet ports is mandatory!
Communication protocols: supported by default: IEC-101, IEC-103, IEC-104, ModBus.
If the Ethernet Ports item is missing, the IEC 61850 switch state is ignored!
Unavailable item combinations are shaded;
5. Select the Rated operating voltage variant using the switches;
6. Select the Rack design using the switches;
(the IED image at the top matches the selected one);
7. If you have additional requirements, then fill in the grayed out fields;
8. Save the Order sheet in PDF format (File-Export-Create PDF document);
9. Send the order in one of the following ways:
- click on the e-mail address in the header, and the letter for sending will be generated automatically (attach the PDF file of the order sheet manually);
- copy the e-mail address in the header, create a message in your mailbox, attach a PDF file to it, in the field: To: paste the copied address;
- print the sheet and fax or scan to the e-mail (fax number and e-mail are indicated in the header);
10. To start filling out the Order sheet, go to the sheet | TOR 150
Note: The choice of invalid combinations is indicated by an "x" and a warning message appears.

## Лист1 (hidden)
Исполнение | Индекс | Изображение - 16 | Изображение - 16К | Запасные 16 | Запасные 16К
D1 | 1
D0 | 2
И3 | 3
И4 | 4
И5 | 5
И6 | 6